## PLASMATRONICS
Dingo downloader spreadsheet - Windows, Mac (version 1.3a)
This spreadsheet is provided for use with the Dingo family of Solar Charge Controllers and interface devices (DNET, DUSB, D232).
For further information, contact Plasmatronics support:
support@plasmatronics.com.au
+61-3-9486-9902 (Technical Support)
Plasmatronics Pty Ltd
165 Cheddar Rd, Reservoir
VIC 3073, AUSTRALIA
Ph: +61-3-9486-9902 (sales, orders and general inquiries)

## Hist0ry
COM1 | DINGO HISTORY REPORT |  |  |  |  | DUSB |  | 9600,E,8,1
/dev/cu.usbserial-DUSB1001 | [5 empty] | DNET |  | 9600,N,8,1
address / name |  | Last Update |  | Dingo sn |  | accessory |  | setting
COM1 | [5 empty] | D232 |  | 9600,E,8,1
Date |  | Vmax | Vmin | float time | State of Charge | Ah in | Ah out
Note on A4: Plasmatronics: Click on "Update" to download data.
Note on B4: Address/Name: IP address, Network Name, Serial Port Name or Serial Port Number
Note on H4: Interface: DNET, D232, or DUSB
Note on J4: Plasmatronics: Dingo: 9600,E,8,1 PLI: 9600,N,8,1 DNET: not applicable
Update

## Status
169.254.100.100 | DINGO STATUS REPORT |  |  |  |  | DUSB
DN1001 | [5 empty] | DNET
address / name |  | Last Update |  | Dingo sn |  | accessory |  | setting
169.254.100.100 | [5 empty] | DNET
Date |  | Vbat | Vtarget | Vmax | Vmin | State of Charge | Charge current | Ah Daily Charge | Load Current | Ah Daily Load | Float time | Days since boost | Days since eq | Battery temperature | clock | volt | prog | load state | generator state | event state | charge protection | alarm state | load protection | charge status |  | solar voltage
2016-12-13 17:03 | boost | 10.1 | 14.2 | 23.7 | 12.8 | 100% | 67.2 | 79 | 0 | 0 | 25:30 | 0 | 0 |  | 10:54 | 24 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 |  | 0
2016-12-13 17:03 | boost | 10.1 | 14.2 | 23.7 | 12.8 | 100% | 67.3 | 79 | 0 | 0 | 25:30 | 0 | 0 |  | 10:54 | 24 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 |  | 0
2016-12-13 17:03 | boost | 10.1 | 14.2 | 23.7 | 12.8 | 100% | 67.2 | 79 | 0 | 0 | 25:30 | 0 | 0 |  | 10:54 | 24 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 |  | 0
2016-12-13 17:03 | boost | 10.1 | 14.2 | 23.7 | 12.8 | 100% |  |  |  |  | 25:30 | 0 | 0 |  | 10:54 | 24 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0
2016-12-13 17:03 | boost | 10.1 | 14.2 | 23.7 | 13 | 100% | 66.9 | 79 | 0 | 0 | 25:30 | 0 | 0 |  | 10:53 | 24 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 |  | 0
2016-12-13 17:03 | boost | 10.1 | 14.2 | 23.7 | 13 | 100% | 67.4 | 79 | 0 | 0 | 25:30 | 0 | 0 |  | 10:53 | 24 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 |  | 0
2016-12-13 17:03 | boost | 10.1 | 14.2 | 23.7 | 13 | 100% | 67.2 | 79 | 0 | 0 | 25:30 | 0 | 0 |  | 10:53 | 24 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 |  | 0
2016-12-13 17:03 | boost | 10.1 | 14.2 | 23.7 | 13 | 100% | 67.2 | 79 | 0 | 0 | 25:30 | 0 | 0 |  | 10:53 | 24 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 |  | 0
2016-12-13 17:03 | boost | 10.1 | 14.2 | 23.7 | 13 | 100% | 66.9 | 79 | 0 | 0 | 25:30 | 0 | 0 |  | 10:53 | 24 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 |  | 0
2016-12-13 17:03 | boost | 10.1 | 14.2 | 23.7 | 13.2 | 100% | 67.2 | 79 | 0 | 0 | 25:30 | 0 | 0 |  | 10:53 | 24 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 |  | 0
2016-12-13 17:03 | boost | 10.1 | 14.2 | 23.7 | 13.2 | 100% | 67 | 79 | 0 | 0 | 25:30 | 0 | 0 |  | 10:53 | 24 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 |  | 0
2016-12-13 17:03 | boost | 10.1 | 14.2 | 23.7 | 13.2 | 100% | 67 | 79 | 0 | 0 | 25:30 | 0 | 0 |  | 10:53 | 24 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 |  | 0
2016-12-13 17:03 | boost | 10.1 | 14.2 | 23.7 | 13.2 | 100% | 66.9 | 79 | 0 | 0 | 25:30 | 0 | 0 |  | 10:53 | 24 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 |  | 0
2016-12-13 17:02 | boost | 10.1 | 14.2 | 23.7 | 13.2 | 100% | 67.2 | 79 | 0 | 0 | 25:30 | 0 | 0 |  | 10:53 | 24 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 |  | 0
2016-12-13 17:02 | boost | 10.1 | 14.2 | 23.7 | 13.2 | 100% | 67.2 | 79 | 0 | 0 | 25:30 | 0 | 0 |  | 10:53 | 24 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 |  | 0
2016-12-13 17:02 | boost | 10.1 | 14.2 | 23.7 | 13.2 | 100% | 67.2 | 79 | 0 | 0 | 25:30 | 0 | 0 |  | 10:53 | 24 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 |  | 0
2016-12-13 17:02 | boost | 10.1 | 14.2 | 23.7 | 13.4 | 100% | 67.3 | 79 | 0 | 0 | 25:30 | 0 | 0 |  | 10:53 | 24 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 |  | 0
2016-12-13 17:02 | boost | 10.1 | 14.2 | 23.7 | 13.4 | 100% | 67.2 | 78 | 0 | 0 | 25:30 | 0 | 0 |  | 10:53 | 24 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 |  | 0
2016-12-13 17:02 | boost | 10.1 | 14.2 | 23.7 | 13.6 | 100% | 67.2 | 78 | 0 | 0 | 25:30 | 0 | 0 |  | 10:53 | 24 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 |  | 0
2016-12-13 17:02 | boost | 10.1 | 14.2 | 23.7 | 13.6 | 100% | 67.3 | 78 | 0 | 0 | 25:30 | 0 | 0 |  | 10:53 | 24 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 |  | 0
2016-12-13 17:02 | boost | 10.1 | 14.2 | 23.7 | 13.6 | 100% | 67.2 | 78 | 0 | 0 | 25:30 | 0 | 0 |  | 10:53 | 24 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 |  | 0
2016-12-13 17:02 | boost | 10.1 | 14.2 | 23.7 | 13.8 | 100% | 67.1 | 78 | 0 | 0 | 25:30 | 0 | 0 |  | 10:53 | 24 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 |  | 0
2016-12-13 17:02 | boost | 10.1 | 14.2 | 23.7 | 13.8 | 100% | 67.2 | 78 | 0 | 0 | 25:30 | 0 | 0 |  | 10:53 | 24 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 |  | 0
2016-12-13 17:02 | boost | 10.1 | 14.2 | 23.7 | 14 | 100% | 67.3 | 78 | 0 | 0 | 25:30 | 0 | 0 |  | 10:53 | 24 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 |  | 0
2016-12-13 17:02 | boost | 10.1 | 14.2 | 23.7 | 14 | 100% | 67.2 | 78 | 0 | 0 | 25:30 | 0 | 0 |  | 10:53 | 24 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 |  | 0
2016-12-13 17:02 | boost | 10.1 | 14.2 | 23.7 | 14 | 100% | 67.2 | 78 | 0 | 0 | 25:30 | 0 | 0 |  | 10:53 | 24 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 |  | 0
2016-12-13 17:02 | boost | 10.1 | 14.2 | 23.7 | 14.2 | 100% | 67.1 | 78 | 0 | 0 | 25:30 | 0 | 0 |  | 10:52 | 24 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 |  | 0
2016-12-13 17:02 | boost | 10.1 | 14.2 | 23.7 | 14.2 | 100% | 67.4 | 78 | 0 | 0 | 25:30 | 0 | 0 |  | 10:52 | 24 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 |  | 0
2016-12-13 17:00 | boost | 10.1 | 14.2 | 23.7 | 8.3 | 100% | 66.9 | 75 | 0 | 0 | 25:30 | 0 | 0 |  | 10:50 | 24 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 |  | 0
2016-12-13 16:59 | boost | 10.1 | 14.2 | 23.7 | 8.4 | 100% | 67.1 | 75 | 0 | 0 | 25:30 | 0 | 0 |  | 10:50 | 24 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 |  | 0
2016-12-13 16:59 | boost | 10.1 | 14.2 | 23.7 | 8.5 | 100% | 67.3 | 75 | 0 | 0 | 25:30 | 0 | 0 |  | 10:50 | 24 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 |  | 0
2016-12-13 16:59 | boost | 10.1 | 14.2 | 23.7 | 8.5 | 100% | 67.2 | 75 | 0 | 0 | 25:30 | 0 | 0 |  | 10:50 | 24 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 |  | 0
2016-12-13 16:59 | boost | 10.1 | 14.2 | 23.7 | 8.5 | 100% | 67.3 | 75 | 0 | 0 | 25:30 | 0 | 0 |  | 10:50 | 24 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 |  | 0
2016-12-13 16:59 | boost | 10.1 | 14.2 | 23.7 | 8.6 | 100% | 67.2 | 75 | 0 | 0 | 25:30 | 0 | 0 |  | 10:50 | 24 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 |  | 0
2016-12-13 16:59 | boost | 10.1 | 14.2 | 23.7 | 8.6 | 100% | 67.3 | 75 | 0 | 0 | 25:30 | 0 | 0 |  | 10:50 | 24 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 |  | 0
2016-12-13 16:59 | boost | 10.1 | 14.2 | 23.7 | 8.7 | 100% | 67.3 | 75 | 0 | 0 | 25:30 | 0 | 0 |  | 10:50 | 24 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 |  | 0
2016-12-13 16:59 | boost | 10.1 | 14.2 | 23.7 | 8.7 | 100% | 67.3 | 74 | 0 | 0 | 25:30 | 0 | 0 |  | 10:50 | 24 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 |  | 0
2016-12-13 16:59 | boost | 10.1 | 14.2 | 23.7 | 8.7 | 100% | 66.9 | 74 | 0 | 0 | 25:30 | 0 | 0 |  | 10:50 | 24 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 |  | 0
2016-12-13 16:59 | boost | 10.1 | 14.2 | 23.7 | 8.8 | 100% | 67.1 | 74 | 0 | 0 | 25:30 | 0 | 0 |  | 10:50 | 24 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 |  | 0
2016-12-13 16:59 | boost | 10.1 | 14.2 | 23.7 | 8.8 | 100% | 67.1 | 74 | 0 | 0 | 25:30 | 0 | 0 |  | 10:49 | 24 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 |  | 0
2016-12-13 16:59 | boost | 10.1 | 14.2 | 23.7 | 8.8 | 100% | 67 | 74 | 0 | 0 | 25:30 | 0 | 0 |  | 10:49 | 24 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 |  | 0
2016-12-13 16:59 | boost | 10.1 | 14.2 | 23.7 | 8.9 | 100% | 67.4 | 74 | 0 | 0 | 25:30 | 0 | 0 |  | 10:49 | 24 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 |  | 0
2016-12-13 16:58 | boost | 10.1 | 14.2 | 23.7 | 9 | 100% | 67.2 | 74 | 0 | 0 | 25:30 | 0 | 0 |  | 10:49 | 24 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 |  | 0
2016-12-13 16:58 | boost | 10.1 | 14.2 | 23.7 | 9 | 100% | 67.2 | 74 | 0 | 0 | 25:30 | 0 | 0 |  | 10:49 | 24 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 |  | 0
2016-12-13 16:58 | boost | 10.1 | 14.2 | 23.7 | 9 | 100% | 67.2 | 74 | 0 | 0 | 25:30 | 0 | 0 |  | 10:49 | 24 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 |  | 0
2016-12-13 16:57 | boost | 10.1 | 14.2 | 23.7 | 10 | 100% | 67.1 | 72 | 0 | 0 | 25:30 | 0 | 0 |  | 10:47 | 24 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 0 |  | 0
2016-12-13 16:56 | boost | 10.1 | 14.2 | 23.7 | 10.1 | 100% | 66.7 | 71 | 0 | 0 | 25:30 | 0 | 0 |  | 10:47 | 12 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 0 |  | 0
2016-12-13 16:55 | boost | 10.1 | 14.2 | 23.7 | 10.1 | 100% | 66.9 | 70 | 0 | 0 | 25:30 | 0 | 0 |  | 10:46 | 12 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 0 |  | 624.5
2016-12-13 16:50 | float | 10.1 | 13.8 | 23.7 | 10.1 | 100% | 66.9 | 64 | 0 | 0 | 25:30 | 0 | 0 |  | 10:40 | 12 | 1 | 0 | 0 | 1 | 0 | 1 | 0 | 3 |  | 701.3
2016-12-13 16:49 |  | 10.1 | 13.8 | 23.7 | 10.3 | 100% | 67 | 64 | 0 | 0 | 25:30 | 0 | 0 |  | 10:40 | 12 | 1 | 0 | 0 | 1 | 0 | 1 | 0 | 3 | float | 701.3
2016-12-13 16:47 |  | 11.5 | 13.8 | 23.7 | 11.5 | 100% | 78.5 | 61 | 0 | 0 | 25:30 | 0 | 0 |  | 10:37 | 12 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 3 |  | 702.7
2016-12-13 16:41 |  | 23.7 | 14 | 23.7 | 11.8 | 100% | 103.9 | 53 | 0 | 0 | 25:30 | 0 | 0 |  | 10:31 | 12 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 689.3
2016-12-13 16:32 |  | 23.7 | 14 | 23.7 | 11.8 | 100% | 103.9 | 37 | 0 | 0 | 25:30 | 0 | 0 |  | 10:22 | 12 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 |  | 689.3
2016-12-13 16:26 |  | 23.7 | 14 | 21.2 | 11.8 | 100% | 103.9 | 28 | 0 | 0 | 25:30 | 0 | 0 |  | 10:17 | 12 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 |  | 27.7
2016-12-13 16:12 |  | 23.7 | 14.2 | 12.9 | 11.8 | 100% | 103.7 | 4 | 0 | 0 | 25:30 | 0 | 0 |  | 10:03 | 12 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 27.7
2016-12-13 16:12 |  | 23.7 | 14.2 | 12.9 | 11.8 | 100% | 103.8 | 3 | 0 | 0 | 25:30 | 0 | 0 |  | 10:03 | 12 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 27.7
2016-12-13 16:12 |  | 23.7 | 14.2 | 12.9 | 11.8 | 100% | 103.8 | 3 | 0 | 0 | 25:30 | 0 | 0 |  | 10:03 | 12 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 27.7
2016-12-13 16:12 |  | 23.7 | 14.2 | 12.6 | 11.8 | 100% | 103.8 | 3 | 0 | 0 | 25:30 | 0 | 0 |  | 10:02 | 12 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 27.7
2016-12-13 16:11 |  | 23.7 | 14.2 | 12.5 | 11.8 | 100% | 103.7 | 2 | 0 | 0 | 25:30 | 0 | 0 |  | 10:02 | 12 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 27.7
2016-12-13 16:10 |  | 23.7 | 14.2 | 12 | 11.8 | 100% | 103.7 | 1 | 0 | 0 | 25:30 | 0 | 0 |  | 10:01 | 12 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 27.7
2016-12-13 16:07 |  | 14 | 14.2 | 14 | 7 | 100% | 100.7 | 1497 | 0 | 0 | 25:30 | 0 | 1 |  | 14:53 | 24 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 3 |  | 0
2016-12-13 15:56 |  | 14 | 14.2 | 14 | 7 | 100% | 100.7 | 1479 | 0 | 0 | 25:30 | 0 | 1 |  | 14:43 | 24 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 3 |  | 0
2016-12-13 15:52 |  | 14 | 14.2 | 14 | 7 | 100% | 100.5 | 1471 | 0 | 0 | 25:30 | 0 | 1 |  | 14:38 | 24 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 3 |  | 0
2016-12-13 15:48 |  | 14 | 14.2 | 14 | 7.5 | 100% | 100.8 | 1465 | 0 | 0 | 25:30 | 0 | 1 |  | 14:34 | 24 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 3 |  | 0 | 26 | 26
2016-12-13 15:43 |  | 14 | 13.8 | 14 | 10.5 | 100% | 100.6 | 1457 | 0 | 0 | 25:30 | 1 | 1 |  | 14:29 | 24 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 0 |  | 110 | 152 | 28312
2016-12-13 15:37 |  | 14 | 13.8 | 14 | 13.7 | 100% | 100.4 | 1447 | 0 | 0 | 25:30 | 1 | 1 |  | 14:24 | 24 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 0 |  | 110 | 160
2016-12-13 15:37 |  | 14 | 13.8 | 14 | 13.9 | 100% | 100.3 | 1446 | 0 | 0 | 25:30 | 1 | 1 |  | 14:23 | 24 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 0 |  | 110 | 160
2016-12-13 15:36 |  | 14 | 13.8 | 14 | 14 | 100% | 100.6 | 1445 | 0 | 0 | 25:30 | 1 | 1 |  | 14:22 | 12 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 |  | 110 | 159
2016-12-13 15:31 |  | 14 | 13.8 | 14 | 14 | 100% | 100.7 | 1437 | 0 | 0 | 25:30 | 1 | 1 |  | 14:18 | 12 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 |  | 110 | 159
2016-12-13 15:29 |  | 14 | 13.8 | 14 | 14 | 100% | 25828.5 | 368538 | 0 | 0 | 25:30 | 1 | 1 |  | 14:16 | 12 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 |  | 110 | 159
2016-12-13 11:47 |  | 14 | 13.8 | 14 | 14 | 100% | 25802.8 | 272934 | 0 | 0 | 25:30 | 1 | 1 |  | 10:34 | 12 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 |  | 110 | 159
2016-12-13 11:46 |  | 14 | 13.8 | 14 | 14 | 100% | 25777.1 | 272677 | 0 | 0 | 25:30 | 1 | 1 |  | 10:33 | 12 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 |  | 110 | 159
2016-12-13 11:45 |  | 14 | 13.8 | 14 | 14 | 100% | 25802.8 | 272163 | 0 | 0 | 25:30 | 1 | 1 |  | 10:32 | 12 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 |  | 110 | 160
2016-12-13 11:45 |  | 14 | 13.8 | 14 | 14 | 100% | 100.4 | 1058 | 0 | 0 | 25:30 | 1 | 1 |  | 10:31 | 12 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 |  | 110 | 160
2016-12-13 10:18 |  | 14 | 13.8 | 14 | 14 | 100% | 25802.8 | 234384 | 0 | 0 | 25:30 | 1 | 1 |  | 9:05 | 12 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 |  | 110 | 160
2016-12-12 14:48 |  | 14 | 13.8 | 14 | 14 | 100% | 25802.8 | 2570 | 0 | 0 | 12:00 | 0 | 0 |  | 13:35 | 12 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 |  | 110 | 160
2016-12-12 14:48 |  | 14 | 13.8 | 14 | 14 | 100% | 25802.8 | 2570 | 0 | 0 | 12:00 | 0 | 0 |  | 13:34 | 12 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 |  | 110 | 160
2016-12-12 13:28 |  | 14 | 13.8 | 14 | 14 | 100% | 25828.5 | 0 | 0 | 31868 | 12:00 | 0 | 0 |  | 12:08 | 12 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 |  | 110 | 159
2016-12-12 13:01 |  | 14 | 14 | 14 | 14 | 5% | 100.4 | 0 | 0 | 167 | 25:30 | 0 | 0 |  | 11:48 | 12 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0
2016-12-12 13:01 |  | 14 | 14 | 14 | 14 | 4% | 100.4 | 0 | 0 | 168 | 25:30 | 0 | 0 |  | 11:47 | 12 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0
2016-12-12 13:01 |  | 14 | 14 | 14 | 14 | 3% | 100.4 | 0 | 0 | 169 | 25:30 | 0 | 0 |  | 11:47 | 12 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0
2016-12-12 13:01 |  | 14 | 14 | 14 | 14 | 3% | 100.3 | 0 | 0 | 169 | 25:30 | 0 | 0 |  | 11:47 | 12 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0
2016-12-12 13:01 |  | 14 | 14 | 14 | 14 | 3% | 100.3 | 0 | 0 | 169 | 25:30 | 0 | 0 |  | 11:47 | 12 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0
2016-12-12 13:01 |  | 14 | 14 | 14 | 14 | 3% | 100.3 | 0 | 0 | 169 | 25:30 | 0 | 0 |  | 11:47 | 12 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0
2016-12-12 13:00 |  | 14 | 14 | 14 | 14 | 3% | 100.4 | 0 | 0 | 169 | 25:30 | 0 | 0 |  | 11:47 | 12 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0
2016-12-12 13:00 |  | 14 | 14 | 14 | 14 | 2% | 100.4 | 0 | 0 | 170 | 25:30 | 0 | 0 |  | 11:47 | 12 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0
2016-12-12 13:00 |  | 14 | 14 | 14 | 14 | 2% | 100.4 | 0 | 0 | 170 | 25:30 | 0 | 0 |  | 11:47 | 12 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0
2016-12-12 13:00 |  | 14 | 14 | 14 | 14 | 2% | 100.4 | 0 | 0 | 170 | 25:30 | 0 | 0 |  | 11:47 | 12 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0
2016-12-12 13:00 |  | 14 | 14 | 14 | 14 | 2% | 100.4 | 0 | 0 | 170 | 25:30 | 0 | 0 |  | 11:47 | 12 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0
2016-12-12 13:00 |  | 14 | 14 | 14 | 14 | 2% | 100.3 | 0 | 0 | 170 | 25:30 | 0 | 0 |  | 11:47 | 12 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0
2016-12-12 13:00 |  | 14 | 14 | 14 | 14 | 2% | 100.4 | 0 | 0 | 170 | 25:30 | 0 | 0 |  | 11:47 | 12 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0
2016-12-12 13:00 |  | 14 | 14 | 14 | 14 | 2% | 100.3 | 0 | 0 | 170 | 25:30 | 0 | 0 |  | 11:47 | 12 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0
2016-12-12 13:00 |  | 14 | 14 | 14 | 14 | 2% | 100.4 | 0 | 0 | 170 | 25:30 | 0 | 0 |  | 11:47 | 12 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0
2016-12-12 13:00 |  | 14 | 14 | 14 | 14 | 1% | 100.4 | 0 | 0 | 170 | 25:30 | 0 | 0 |  | 11:46 | 12 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0
2016-12-12 13:00 |  | 14 | 14 | 14 | 14 | 1% | 100.5 | 0 | 0 | 171 | 25:30 | 0 | 0 |  | 11:46 | 12 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0
2016-12-12 13:00 |  | 14 | 14 | 14 | 14 | 1% | 100.4 | 0 | 0 | 171 | 25:30 | 0 | 0 |  | 11:46 | 12 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0
2016-12-12 12:59 |  | 14 | 14 | 14 | 14 | 1% | 100.4 | 0 | 0 | 171 | 25:30 | 0 | 0 |  | 11:46 | 12 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0
2016-12-12 12:59 |  | 14 | 14 | 14 | 14 | 1% | 100.4 | 0 | 0 | 171 | 25:30 | 0 | 0 |  | 11:46 | 12 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0
2016-12-12 12:59 |  | 14 | 14 | 14 | 14 | 1% | 100.4 | 0 | 0 | 171 | 25:30 | 0 | 0 |  | 11:46 | 12 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0
2016-12-12 12:59 |  | 14 | 14 | 14 | 14 | 1% | 100.4 | 0 | 0 | 171 | 25:30 | 0 | 0 |  | 11:46 | 12 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0
2016-12-12 12:58 |  | 14 | 14 | 14 | 14 | 0% | 0 | 0 | 100.4 | 171 | 25:30 | 0 | 0 |  | 11:45 | 12 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0
2016-12-12 12:58 |  | 14 | 14 | 14 | 14 | 0% | 0 | 0 | 100.5 | 170 | 25:30 | 0 | 0 |  | 11:45 | 12 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0
2016-12-12 11:34 |  | 14 | 14 | 14 | 14 | 70% | 0 | 0 | 100.4 | 29 | 25:30 | 0 | 0 |  | 10:20 | 12 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0
2016-12-12 11:32 |  | 14 | 14 | 14 | 14 | 73% | 0 | 0 | 100.2 | 26 | 25:30 | 0 | 0 |  | 10:18 | 12 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0
2016-12-12 11:16 |  | 14 | 14.2 | 14 | 14 | 100% | 0 | 0 | 0 | 0 | 25:30 | 0 | 0 |  | 10:02 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2016-12-12 11:10 |  | 14 | 14 | 14 | 14 | 0% | 0 | 0 | 0 | 9.7 | 25:30 | 0 | 0 |  | 11:25 | 12 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0
2016-12-12 11:09 |  | 14 | 14 | 14 | 14 | 0% | 0 | 0 | 100.4 | 9.5 | 25:30 | 0 | 0 |  | 11:23 | 12 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0
2016-12-12 11:07 |  | 14 | 14 | 14 | 14 | 0% | 0 | 0 | 10.04 | 0.92 | 25:30 | 0 | 0 |  | 11:22 | 12 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0
2016-12-12 10:36 |  | 14 | 14 | 14 | 14 | 37% | 0 | 0 | 300 | 0 | 25:30 | 0 | 0 |  | 10:51 | 12 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0
2016-12-12 10:34 |  | 14 | 14 | 14 | 14 | 40% | 0 | 0 | 300 | 0 | 25:30 | 0 | 0 |  | 10:49 | 12 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0
2016-12-12 10:29 |  | 14 | 14 | 14 | 14 | 49% | 0 | 0 | 300 | 0 | 25:30 | 0 | 0 |  | 10:44 | 12 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0
2016-12-12 10:27 |  | 14 | 14 | 14 | 14 | 52% | 0 | 0 | 300 | 0 | 25:30 | 0 | 0 |  | 10:42 | 12 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0
2016-12-12 10:27 |  | 14 | 14 | 14 | 14 | 53% | 0 | 0 | 300 | 0 | 25:30 | 0 | 0 |  | 10:41 | 12 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0
2016-12-12 10:27 |  | 14 | 14 | 14 | 14 | 53% | 0 | 0 | 300 | 0 | 25:30 | 0 | 0 |  | 10:41 | 12 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0
2016-12-12 10:20 |  | 14 | 14 | 14 | 14 | 65% | 0 | 0 | 300 | 0 | 25:30 | 0 | 0 |  | 10:34 | 12 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0
2016-12-12 10:20 |  | 14 | 14 | 14 | 14 | 65% | 0 | 0 | 300 | 0 | 25:30 | 0 | 0 |  | 10:34 | 12 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0
2016-12-12 10:20 |  | 14 | 14 | 14 | 14 | 65% | 0 | 0 | 300 | 0 | 25:30 | 0 | 0 |  | 10:34 | 12 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0
2016-12-12 10:20 |  | 14 | 14 | 14 | 14 | 65% | 0 | 0 | 300 | 0 | 25:30 | 0 | 0 |  | 10:34 | 12 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0
2016-12-12 10:20 |  | 14 | 14 | 14 | 14 | 65% | 0 | 0 | 300 | 0 | 25:30 | 0 | 0 |  | 10:34 | 12 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0
2016-12-12 10:19 |  | 14 | 14 | 14 | 14 | 65% | 0 | 0 | 300 | 0 | 25:30 | 0 | 0 |  | 10:34 | 12 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0
2016-12-12 10:19 |  | 14 | 14 | 14 | 14 | 65% | 0 | 0 | 300 | 0 | 25:30 | 0 | 0 |  | 10:34 | 12 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0
2016-12-12 10:19 |  | 14 | 14 | 14 | 14 | 66% | 0 | 0 | 300 | 0 | 25:30 | 0 | 0 |  | 10:34 | 12 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0
2016-12-12 10:16 |  | 14 | 14 | 14 | 14 | 70% | 0 | 0 | 300 | 0 | 25:30 | 0 | 0 |  | 10:31 | 12 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0
2016-12-12 10:03 |  | 14 | 14 | 14 | 14 | 93% | 0 | 0 | 300 | 0 | 25:30 | 0 | 0 |  | 10:18 | 12 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0
2016-12-12 10:02 |  | 14 | 14 | 14 | 14 | 94% | 0 | 0 | 300 | 0 | 25:30 | 0 | 0 |  | 10:17 | 12 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0
2016-12-12 09:59 |  | 14 | 14 | 14 | 14 | 99% | 0 | 0 | 300 | 0 | 25:30 | 0 | 0 |  | 10:14 | 12 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0
2016-12-12 09:57 |  | 14 | 14 | 14 | 14 | 100% | 300 | 0 | 0 | 0 | 25:30 | 0 | 0 |  | 10:11 | 12 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0
2016-12-12 09:57 |  | 14 | 14 | 14 | 14 | 100% | 300 | 0 | 0 | 0 | 25:30 | 0 | 0 |  | 10:11 | 12 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0
2016-12-12 09:54 |  | 14 | 14 | 14 | 14 | 100% | 300 | 0 | 0 | 0 | 25:30 | 0 | 0 |  | 10:08 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0
2016-12-12 09:49 |  | 14 | 14 | 14 | 14 | 100% | 300 | 0 | 0 | 0 | 25:30 | 0 | 0 |  | 10:04 | 0 | 16 | 1 | 0 | 0 | 0 | 0 | 0 | 0
2016-12-12 09:49 |  | 14 | 14 | 14 | 14 | 100% | 300 | 0 | 0 | 0 | 25:30 | 0 | 0 |  | 10:04 | 0 | 16 | 1 | 0 | 0 | 0 | 0 | 0 | 0
2016-12-09 18:24 |  | 14 | 13.8 | 14 | 14 | 100% | 3 | 1 | 0 | 0 | 12:00 | 0 | 0 | 128 | 14:19 | 0 | 16 | 128 | 64 | 0 | 0 | 0 | 4 | 0
2016-12-09 18:24 |  | 14 | 13.8 | 14 | 14 | 100% | 3 | 1 | 0 | 0 | 12:00 | 0 | 0 | 128 | 14:19 | 0 | 16 | 128 | 64 | 0 | 0 | 0 | 4 | 0
2016-12-09 18:24 |  | 14 | 13.8 | 14 | 14 | 100% | 3 | 1 | 0 | 0 | 12:00 | 0 | 0 | 128 | 14:19 | 0 | 16 | 128 | 64 | 0 | 0 | 0 | 4 | 0
2016-12-09 18:24 |  | 14 | 13.8 | 14 | 14 | 100% | 3 | 1 | 0 | 0 | 12:00 | 0 | 0 | 128 | 14:19 | 0 | 16 | 128 | 64 | 0 | 0 | 0 | 4 | 0
2016-12-09 18:24 |  | 14 | 13.8 | 14 | 14 | 100% | 3 | 1 | 0 | 0 | 12:00 | 0 | 0 | 128 | 14:19 | 0 | 16 | 128 | 64 | 0 | 0 | 0 | 4 | 0
Note on A4: Plasmatronics: Click on "Update" to download data.
Note on B4: Plasmatronics: Insert IP address, Network Name, Serial Port Name or Serial Port Number
Note on H4: Plasmatronics: Select DNET, D232, or DUSB
Note on J4: Plasmatronics: Dingo: 9600,E,8,1 PLI: 9600,N,8,1 DNET: not applicable
Update

## Settings
com1 | DINGO SETTINGS REPORT |  |  |  |  | DUSB |  | 9600,E,8,1
/dev/cu.usbserial-DUSB1001 | [5 empty] | DNET |  | 9600,N,8,1
address / name |  | Last Update |  | Dingo sn |  | accessory |  | setting
DUSB1001 | [5 empty] | DUSB |  | 9600,E,8,1
Date | Dingo sn | Sys Volt | Program |  | gon | goff | gdel | gexf | grun | loff | lon | ldel | aset | bstfreq | atim | hyst | bret | curlim | bat2 | eset1 | eset2 | eset3 | eqfreq | etim | absv | emax | fltv | bmax | lgset | pwme | sstop | etmod | gmod | volt | bcap
Note on A4: Plasmatronics: Click on "Update" to download data.
Note on B4: Plasmatronics: Insert IP address, Network Name, Serial Port Name or Serial Port Number
Note on H4: Plasmatronics: Select DNET, D232, or DUSB
Note on J4: Plasmatronics: Dingo: 9600,E,8,1 PLI: 9600,N,8,1 DNET: not applicable
Update

## INFO
Plasmatronics Solar Charge Regulators: www.plasmatronics.com.au
mailto: support@plasmatronics.com.au
Technical Support number: +61-39486-9902
Dingo spreadsheet version 1.3a
This spreadsheet is provided for use with the Dingo family of Solar Charge Controllers and interface devices (DNET, DUSB, D232).
The "Hist0ry", "Status" and "Settings" data sheets are provided to download information from your Dingo Charge Controller, using your computers serial port, USB port, or network connection.
To configure the data sheets, enter the port name or network address in cell B4, any required setting in J4, and the interface type in cell H4. See the DNET, DUSB/D232, or RTU/TCP info pages for more information about name, address and setting configuration
The first time a history page is used, it will attempt to download the entire Dingo charge history. On subsequent attempts, only the new data will be downloaded.
This spreadsheet uses VBA macros for Windows and Mac OSX. It will only work in versions of Excel that support vbscript macros. You must enable macros for this spreadsheet to work. If you have downloaded this spreadsheet from the Internet, you may need to mark the spreadsheet as trusted, or move it to a trusted location.
You may use multple pages to view multiple charge regulators. Just copy "Status" , "Hist0ry" or "Settings" as many times as desired. Only download one page at a time. In general, trying to download two pages at the same time will not be any faster and may cause errors.
For further information, contact Plasmatronics at support@plasmatronics.com.au, or at the following address:
Plasmatronics Pty Ltd
165 Cheddar Rd, Reservoir
VIC 3073, AUSTRALIA
Ph: +61-3-9486-9902
Technical Support:
Direct Dial: +61-3-9486-9902

## DNET
Plasmatronics Solar Charge Regulators: www.plasmatronics.com.au
mailto: support@plasmatronics.com.au
Technical Support number: +61-3-9486-9902
DNET
Cell B4 ("address/name") enter the device name or device address of the serial port gateway.
Cell H4 ("accessory") select "DNET".
Typical address / name values:
DN1001
DN1001.plasmatronics.local:502
192.168.1.7
If your DNET is connected to a network router or modem which is acting as a DHCP server, the server may have a DHCP client list which will enable you to find the IP address assigned to the DNET. The DNET network name (DNxxxx) may appear in the client list
The DNET is not a secure device, and should not be exposed to the internet except through a Virtual Private Network. If your network is connected to the internet, use a firewall to protect the DNET and your solar power installation.
By default this spreadsheet connects using a Modbus TCPIP connection over port 502. If you are using a port-forwarding network rule, you may specify a different port number with a colon at the end of the URL. (The DNET configuration can not be changed.)
The DNET takes several seconds to acquire the default IP address at power-on. Do not try to read the history when the DNET first starts, or it will select a different IP address (starting at 169.254.100.101)
For further information, contact support@plasmatronics.com.au, or at the following address:
Plasmatronics Pty Ltd
165 Cheddar Rd, Reservoir
VIC 3073, AUSTRALIA
Ph: +61-3-9486-9902
Technical Support:
Direct Dial: +61-3-9486-9902

## RTU TCP
Plasmatronics Solar Charge Regulators: www.plasmatronics.com.au
mailto: support@plasmatronics.com.au
Technical Support number: +61-3-9486-9902
RTU over TCP (serial port network server)
Cell B4 ("address/name") enter the device name or device address of the serial port gateway.
Cell J4 ("setting") enter the TCP/IP port number.
Cell H4 ("accessory") select "RTU/TCP".
A device name must be recognised by your hosts file or domain name system. A device address is a dotted IP address.
Your device address or device name may be configured by your router, modem, dhcp server, or gateway device. Read your gateway devcie documentation or contact your network administrator to find your device IP address / name.
RTU over TCP protocol does not enforce Modbus RTU timing constraints
For further information, contact support@plasmatronics.com.au, or at the following address:
Plasmatronics Pty Ltd
165 Cheddar Rd, Reservoir
VIC 3073, AUSTRALIA
Ph: +61-3-9486-9902
Technical Support:
Direct Dial: +61-3-9486-9902

## DUSB D232
Plasmatronics Solar Charge Regulators: www.plasmatronics.com.au
mailto: support@plasmatronics.com.au
Technical Support number: +61-3-9486-9902
DUSB / D232
Cell B4 ("address/name") :enter DUSB/D232 port name or port number.
Cell H4 ("accessory"): select "DUSB" OR "D232"
Cell J4 ("setting"): Serial port setting: default is "9600,E,8,1". (May be left blank)
Typical address / name values:
9 (Windows)
COM9 (Windows)
DUSB1001 (Mac Osx)
/dev/cu.usbserial-DUSB1001 (Mac Osx)
To see a list of Windows serial ports, go to "Ports (COM & LPT)" in "Device Manager".
To list the port names on a MAC OSX computer, open a terminal window and type: ls /dev/cu.*
MAC OSX port names are in the form "/dev/cu.usbserial-DUSBnnnn", where "nnnn" is the DUSB serial number, or /dev/cu.usbserial-Axxxxxxx, where Axxxxxxx is the USB serial number. You may use the short form "DUSBnnnn".
For Windows, the port name will be the port number with "COM". For example, COM5, or COM57.
You may use the port number instead of the port name. (If you have a very large com port number, you may wish to reset your port numbers, but this spreadsheet will work with large port numbers).
This spreadsheet connects using a relaxed Modbus RTU protocol over a USB or Serial Port..No timing constraints are applied.
For further information, contact support@plasmatronics.com.au, or at the following address:
Plasmatronics Pty Ltd
165 Cheddar Rd, Reservoir
VIC 3073, AUSTRALIA
Ph: +61-3-9486-9902
Technical Support:
Direct Dial: +61-3-9486-9902

## MAC OSX
Plasmatronics Solar Charge Regulators: www.plasmatronics.com.au
mailto: support@plasmatronics.com.au
Technical Support number: +61-3-9486-9902
MAC OSX
Recent versions of MacOS include drivers for the DUSB. For OSX 10.9 and earlier, you may download and install FTDI VCP drivers from:
http://www.ftdichip.com/Drivers/VCP.htm
To list the active port names on a MAC OSX computer, open a terminal window and type:
ls /dev/cu.*
On MacOS / OSX, DUSB port names take the form:
/dev/cu.usbserial-DUSB1001
(where the last part of the name is the DUSB serial number), or
/dev/cu.usbserial-A12345678
(where the last part of the name is the USB serial number)
In this spreadsheet you may use the last part of the name ("DUSBnnnn") or the full name.
When using a D232 with a third-party USB adapter, the serial port will normally be a "/dev/cu." device, but the rest of the name will depend on the driver. Note: /dev/tty device names are normally intended as output devices, and may require configuration
For further information, contact support@plasmatronics.com.au, or at the following address:
Plasmatronics Pty Ltd
165 Cheddar Rd, Reservoir
VIC 3073, AUSTRALIA
Ph: +61-3-9486-9902
Technical Support:
Direct Dial: +61-3-9486-9902